### Temp-485 Box2

Temperature probe for indoor use.  Communicates over the RS-485 bus using a simple communication protocol. Designed for Poseidon units.

Probes can be daisy-chained

Probes can be connected to a “star” topology using patch cables and an S-Hub unit

Environment: Indoor use, wall mount

Input temperature range: -10°C to +70°C (+14°F to +158°F)

Interface: RS-485, RJ45 + terminals

Compatible with: Poseidon 1250 and 2250