## Sensors and accessories

### Flood detector 1W-UNI 3m

Water flood sensor – spot detector (1D), 1-Wire UNI interface.

Water leak detection using four protruding pins on the sensor body. Designed for flood detection, senses water and other electrically conductive liquids.

3m cable connects directly to a RJ11 1-Wire UNI port. For use with Poseidon2 (LAN) or Ares (GSM) monitoring units.

The sensor can be left lying on the floor (on an electrically insulating surface), or attached to the floor or to a wall.

Supplied with a 3m RJ11 cable.

- Detection: 1D water detection (at one point)

- Interface: 1-Wire UNI (RJ11)

Cable length: 3m

- Connects to: Poseidon2 family, Ares 12/14

- Power supply: From the 1-Wire UNI bus (RJ11)

- Environment: Indoor or outdoor use

# Text boxes

Klíčová slova:

Flood detector, detektor zaplavení, detekce zaplavení vodou, detekce vody, bodová detekce, detekce zaplavení 1D, detekce průsaku vody, záplavový senzor,

Zařízení na detekci vody, GSM alarm při zaplavení, LAN detekce zaplavení, sms detekce zaplavení,

Keywords:

Flood detector, water leak detection, 1D water detection, water alarm, water sensor, spot detector, Flood sensor, water leak email, water detection sms

Water leak detection equipment, Water leak sensor, Water detection sensor, Leak sensor, Water detection, Flood detection, GSM water alarm, LAN water leak detection